REPUBLIC OF ARMENIA

MINISTRY OF LABOR AND SOCIAL AFFAIRS

SOCIAL PROTECTION ADMINISTRATION II PROJECT

LOAN N 5398-AM

ENVIRONMENTAL AND SOCIAL MANAGEMENT PLAN

RENOVATION OF PREMISES

FOR BERD COMPLEX SOCIAL SERVICES TERRITORIAL CENTER

AUTHORS:

Engineer/Environmental Specialist – T. Tadevosyan

ME and Social Safeguards Specialist – N. Mkrtchyan

MARCH 2020

PART A: General Project and Site Information

| INSTITUTIONAL & ADMINISTRATIVE |  |  |  |  |
| --- | --- | --- | --- | --- |
| Country | Republic of Armenia |  |  |  |
| Project title | Social Protection Administration II Project (SPAP II), Renovation of Premises for Berd Complex Social Services Territorial Center (CSSTC) in Tavush Marz |  |  |  |
| Scope of site-specific activity | Construction activities to be performed at Berd CSSTC include: the arrangement of internal engineering networks (power, gas, water, and sewage) and connections to the municipal utility systems; installing internal and external doors and windows; construction of new partition walls; the arrangement of integrated receptions; toilet renovation adjustment of existing door panels; the arrangement of an internal heating system; and installation of wall boilers and aluminum heaters. Building entrance improvement includes building a wheelchair ramp for the disadvantaged groups of the population; covering it with basalt tiles and placing the rails. An area of 394.19 square meters of the existing building was allocated for organizing a CSSTC. |  |  |  |
| Institutional arrangements (WB) | Task Team Leaders: Ivan Drabek, Marina Petrovic |  | Safeguards Specialists: Hmayak Avagyan, Environment Vera Dugandzic, Social |  |
| Implementation arrangements (RoA) | Implementing entity: Ministry of Labor and Social Affairs (MLSA) | Works supervisor: MLSA: Tovmas Tadevosyan, Environment Nvard Mkrtchyan, Social |  | Works contractor: (TBD) “KhachMishShin” LLC, “Ashkar” LLC |
| SITE DESCRIPTION |  |  |  |  |
| Name of institution whose premises are to be rehabilitated | Berd CSSTC in Tavush Marz |
| Address and site location of institution whose premises are to be rehabilitated | Administrative bld. at Levon Bek str. 5, Berd, Berd community, Tavush Marz, Republic of Armenia |  |  |  |
| Who uses the land (formal/informal)? | The land is owned by Berd community. The document confirming the real estate acquisition right is the Certificate of State Registration of the Rights over Real Estate N 11112019-11-008, issued 11.11.2019 and provided on the basis of the Decision N745-A of the Head of the Community, dated 06.11.2019; Contract on perpetual right of free use of the real estate dated 06.11.2019 (Appendix 2). The renovation works will not entail any physical displacement (relocation or loss of shelter) or economic displacement as it is not used by anyone (loss of assets or access to assets that leads to loss of income sources or means of livelihood). |  |  |  |
| Description of physical and natural environment around the site | The premises allocated for the CSSTC are in the central part of the Berd community, in the administrative building. There are a cinema, banks and trading stalls nearby. The road leading to the Center is asphalted, no trees and bushes are hindering the construction works. The external electricity, natural gas, water supply network and sewage disposal of the CSSTC are currently in place and will remain unchanged; and the internal communications and infrastructures, electrical wires and water pipelines will be fully replaced. The premises are State property and cannot be used for private reasons or profit. The civil works will not interfere with the everyday life of nearby residents or public transportation. The renovation works will not hinder the activity of the offices located in the same building and its surrounding structures. The project’s Social and Environmental Specialists have visited and pre-screened the site. |  |  |  |
| Locations and distance for material sourcing, especially aggregates, water, stones? | The necessary aggregates and other construction materials are available from nearby vendors and wholesale trade centers. Water required for construction works is available inside the building, supplied by “Veolia Jur” CJSC. There is enough space for parking of construction vehicles and machinery on the territory adjacent to the CSSTC and to establish temporary storage for building materials and construction waste, if necessary. |  |  |  |
| LEGISLATION |  |  |  |  |
| National & local legislation & permits that apply to project activity | The following Armenian legislation defines a legal framework applicable to project activities: - Law on Atmospheric Air Protection of RoA (1994). The purpose of Law on Atmospheric Air Protection is to define main principles of the RoA, directed to the provision of purity of atmospheric air and improvement of air quality, prevention and mitigation of the chemical, physical, biological and other impacts on air quality and regulation of public relation, as well as the principle of setting standards of emission limits on atmospheric air pollutants and permissible physical harmful influences. According to this law, contractor shall undertake repairs activities as well as transportation and temporary storage of wastes the way to minimize dust and other emissions to the air. - RoA Law on Waste (2004). The law provides the legal and economic basis for the collection, transportation, disposal, treatment, re-use of wastes as well as prevention of negative impacts of waste on natural resources, human life and health. The law defines the roles and responsibilities of the state authorized bodies as well as of waste generator organizations in waste management operations. According to this law, the waste generated during the renovation of the building should be recycled as appropriate or disposed of in designated locations. According to this law, the contractor shall absorb costs of safe storage, transportation, and disposal of the waste. - RoA Law on Environmental Impact Assessment and Expertise (2014) The law defines types of activities that are subject to environmental impact assessment and ecological expertise. According to this law, works for the renovation of premises for the CSSTC are not subject to ecological expertise. - Land Code of the Republic of Armenia (2001) Taking into account the nature protection, economic and social significance of the land, the Land Code defines the basic directions of State regulatory system concerning land relations, development of various organizational and legal forms of land economy, fertility of land, land use efficiency raise, protection and improvement of an environment – favorable for human vitality and health, the legal framework concerning the protection of the rights on land, as well as regulation of resettlement and evacuation problems. Renovation of Berd CSSTC will not cause resettlement either as defined by this law nor as by OP/BP 4.12 of the World Bank. - RoA Law on Nature Protection and Nature Utilization (1998) The Construction Company that implements activities specified in this law is responsible for nature protection and nature utilization payments. - RoA Law on Urban Development (1998). The law defines types of activities that are subject to construction permitting. According to this law, renovation of the existing premises allocated for Berd CSSTC requires obtaining the construction permit. |  |  |  |
| PUBLIC CONSULTATION |  |  |  |  |
| When / where the public consultation process will take /took place | Present draft ESMP was disclosed through the webpage of MLSA (www.mlsa.am) in Armenian and English languages, as well as the Facebook page of the Project upon clearance by the World Bank on 20.03.2020. As part of alternative/virtual public consultation of the renovation works the draft ESMP was also submitted to the local stakeholders and beneficiaries through emails, fixing a 5-day period for comments and questions. Brief information on the planned works and contact information of the contractor for addressing questions and grievance will be placed at the work site and/or in its immediate surroundings. |  |  |  |
| ATTACHMENTS |  |  |  |  |
| Attachment 1: Site plan and photo documentation of premises Attachment 2: Premises ownership certificate Attachment 3: Conclusion on the technical condition of the building Attachment 4: Records of virtual consultation on the draft ESMP Attachment 5: Waste disposal permission Attachment 6: Construction Permit |  |  |  |  |

PART B: safeguards information

| ENVIRONMENTAL /SOCIAL SCREENING |  |  |  |
| --- | --- | --- | --- |
| Will the site activity include/involve any of the following? | Activity/Issue | Status | Triggered Actions |
|  | - Building rehabilitation | [] Yes [ ] No | If “Yes”, see Section A below |
|  | - New construction | [ ] Yes [] No | If “Yes”, see Section A below |
|  | - Individual wastewater treatment system | [ ] Yes [] No | If “Yes”, see Section B below |
|  | - Historic building(s) and districts | [ ] Yes [ ] No | If “Yes”, see Section C below |
|  | - Acquisition of land | [ ] Yes [] No | If “Yes”, see Section D below |
|  | - Hazardous or toxic materials | [ ] Yes [] No | If “Yes”, see Section E below |
|  | - Impacts on forests and/or protected areas | [ ] Yes [] No | If “Yes”, see Section F below |
|  | - Handling / management of medical waste | [ ] Yes [] No | If “Yes”, see Section G below |
|  | - Traffic and Pedestrian Safety | [ ] Yes [] No | If “Yes”, see Section H below |

PART C: Mitigation measures

| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| --- | --- | --- |
| General Conditions | Notification and Worker Safety | - The local construction and environment inspectorates and communities have been notified of upcoming activities - The public has been notified of the works through appropriate notification in the media and/or at publicly accessible sites (including the site of the works) - All legally required permits have been acquired for construction and/or rehabilitation - The Contractor formally agrees that all work will be carried out in a safe and disciplined manner designed to minimize impacts on neighboring residents and environment. - Workers’ PPE will comply with international good practice (always hardhats, as needed masks and safety glasses, harnesses and safety boots) - Appropriate signposting of the sites will inform workers of key rules and regulations to follow. |
| A. General Rehabilitation and /or Construction Activities | Air Quality | - Demolition debris shall be kept in controlled area and sprayed with water mist to reduce debris dust - During pneumatic drilling/wall destruction, dust shall be suppressed by water spraying and/or installing dust screen enclosures at site - The surrounding environment (sidewalks, roads) shall be kept free of debris to minimize dust - There will be no open burning of construction / waste material at the site - There will be no excessive idling of construction vehicles at sites |
|  | Noise | - Construction noise will be limited to restricted times agreed to in the permit. The civil works will cause some noise mostly in defined working hours, however the Contractor shall maximally reduce inconvenience caused to the nearby residents - During operations the engine covers of generators, air compressors and other powered mechanical equipment shall be closed, and equipment placed as far away from residential areas as possible |
|  | Water Quality | - The site will establish appropriate erosion and sediment control measures such as e.g. hay bales and / or silt fences to prevent sediment from moving off site and causing excessive turbidity in nearby streams and rivers. |
|  | Waste management | - Waste collection and disposal pathways and sites will be identified for all major waste types expected from demolition and construction activities. - Mineral construction and demolition wastes will be separated from general refuse, organic, liquid and chemical wastes by on-site sorting and stored in appropriate containers. - Construction waste will be collected and disposed properly by licensed collectors - The records of waste disposal will be maintained as proof for proper management as designed. - Whenever feasible the contractor will reuse and recycle appropriate and viable materials (except asbestos) |
| H. Traffic and Pedestrian Safety | Direct or indirect hazards to public traffic and pedestrians by construction activities | In compliance with national regulations the contractor will insure that the construction site is properly secured, and construction related traffic regulated. This includes but is not limited to - Signposting, warning signs, barriers and traffic diversions: site will be clearly visible, and the public warned of all potential hazards - Traffic management system and staff training, especially for site access and near-site heavy traffic. Provision of safe passages and crossings for pedestrians where construction traffic interferes. - Adjustment of working hours to local traffic patterns, e.g. avoiding major transport activities during rush hours or times of livestock movement - Active traffic management by trained and visible staff at the site, if required for safe and convenient passage for the public. - Ensuring safe and continuous access to office facilities, shops and residences during renovation activities, if buildings stay open for public. |

PART D: Monitoring Plan

| Activity | What (Is the parameter to be monitored?) | Where (Is the parameter to be monitored?) | How (Is the parameter to be monitored?) | When (Define the frequency / or continuous?) | Why (Is the parameter being monitored?) | Who (Is responsible for monitoring?) |
| --- | --- | --- | --- | --- | --- | --- |
| CONSTRUCTION PHASE |  |  |  |  |  |  |
| Provision of construction materials | Purchase of construction materials from the registered providers | Provider’s office or warehouse | Verification of labels of the materials and/or certificates | During conclusion of supply contracts | Ensure reliability of construction materials and their safety for human health | MLSA Technical Supervision Company |
| Generation of construction waste | - Temporary storage of construction waste in especially allocated areas; - Timely disposal of wastes to the formally designated locations | Work site Location designated for waste disposal | Inspection | Periodically during reconstruction and upon its completion | - Prevent pollution of territory - avoid accidents at construction site due to scattered fragments of construction materials and debris - retain esthetic appearance of the reconstruction site and other floors | MLSA Technical Supervision Company |
| Transportation of construction materials and waste | - Technical condition of vehicles and machinery; - Confinement and protection of truck loads with lining; - Respect of the established hours and routes of transportation | - Construction site - Routes of transportation of construction materials and wastes | Inspection of roads adjacent to the construction object in the direction of the movement route | Selective inspections during work hours | - Limit pollution of soil and air from emissions; - Limit nuisance to local communities from noise and vibration; - Minimize traffic disruption. | MLSA Traffic Police |
| 3. Maintenance of construction equipment | - Washing of cars and construction equipment outside the construction site or on maximum distance from natural streams; - Refueling or lubrication of construction equipment outside the construction site or at the predetermined confined area. | Construction site | Inspection of activities | Selective inspections during work hours | - Avoid pollution of water and soil with oil products due to the operation of equipment; Timely localize and decrease expected damage in case of fire. | MLSA Technical Supervision Company |
| Workers’ health and safety | - Provision of constructors with working clothes and PPE; - Strict compliance with the rules of construction equipment operation and usage of PPE; - Presence of fire extinguishing and medical aid kits at work site | Work site | Inspection | Entire period of works | Reduce probability of traumas and accidents | MLSA Technical Supervision Company |
| Traffic and road safety | - Presence of traffic regulation and warning signs as needed; - Construction site demarcated/fenced, and all construction activities confined to the site; - No construction materials and waste piled up or scattered outside the construction site | Adjacent area to the construction site | Inspection | Entire period of construction works | Prevent the violation of interests of the passengers and/or pedestrians because of the construction works | MLSA Traffic Police |
| Site reinstatement | Land plot around the reconstructed premises cleared of any residual waste and reinstated | Construction site | inspection | Final stage of works | Ensure complete close-down of the construction site with no residual trash left behind | MLSA Berd Municipality Technical Supervision Company |
| Public information and grievance redress | Information board installed at the work site carrying: - the name of works provider (contractor), works commissioner (MLSA), and works financing Project (SPAP); - contact information / hotline in MLSA for local communities to refer complains on the nuisance caused by construction works | Field office of the contractor and construction site | Inspection of documents | Before and during the construction works | Communicate with the residents or employees as well as other stakeholders of the area adjacent to the construction site and register the complaints | MLSA |
| OPERATION PHASE |  |  |  |  |  |  |
| Operational waste management | - Organized collection of household waste generated during office operation inside CSSTC; - Arrangements in place and operational for removal of household waste from CSSTC | CSSTC space | Inspection of office area | Entire period of office operation | Ensure sanitary safety and favorable conditions for CSSTC staff | CSSTC administration |
| Maintenance of internal communication systems | Electric wiring and water/sewage pipes maintained in good operation condition | CSSTC space | Inspection of office area | Entire period of office operation | Exclude risks of electric shocks, short circuits, and leakage of pipes | CSSTC administration |
| Improved space (premises) | Exterior area of the building kept clean and groomed | Premises of the CSSTC | Visual Inspection | Entire period of works implementation | Ensure favorable social impact of the improved premises on the beneficiaries attending the center. | CSSTC administration |

Attachment 1. Site plan and

photo documentation of premises before repair

Attachment 2

Premises Ownership Certificate

(Non-official translation)

Republic of Armenia

Certificate of State Registration of the Rights over

Real Estate

Cadaster Committee

This Certificate confirms the state registration of the rights over real estate in the integrated registry of state registration of rights over real estate on November 11, 2019 by the following details:

1. Entity(s) of registered right

Ministry of Labor and Social Affairs of the Republic of Armenia

2. The place and name of the real estate

Administrative bld. at Levon Bek str. 5, Berd, Berd community, Tavush Marz

3. Documents on which the registration is based

Decision N745-A of the Head of the Community, dated 06.11.2019, Contract on perpetual right of free use of the real estate dated 06.11.2019

4. Land characteristics

Cadaster Code

Surface

Target use

Operational use

Type of registered right

5. Building characteristics

1) Target use – public

2) Characteristics of the separate buildings;

| N | Cadaster Code | Type | Surface | Type of registered right |
| --- | --- | --- | --- | --- |
| 1 | 11-002-0101-0041-001 | Admin. building | 394.19 sq. m | free use |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

Additional Notes and Information

Registering official – Naira Aslanyan

Position – Real estate register of unified subdivision of the State Committee of the Real Estate Cadaster adjunct to the RoA Government.

Certificate number- 11112019-11-0008, password – 15BVAEWULUC

Attachment 3.

Conclusion on the technical condition of the building

Summary-Excerpt from the

Conclusion on the Technical Condition of the Premises Located on the First Floor of the Administrative Building at Levon Bek str. 5, Berd, Berd Community, Tavush Marz, Republic of Armenia

The examination was implemented by the Center of Expertise for Urban Planning Projects OJSC based upon the letter-request from T. Gapoyan – Director of “Tiv 28 SHMSH” OJSC design company.

Visual examination revealed:

Based on the examination of the building the overall technical state is evaluated as satisfactory.

- The bearing structures of the building do not have significant defects, fractures or deformations. They are in satisfactory technical shape,

- The window openings on the side frontals of the building are made at the height of the entire floor.

The following technical measures need to be taken to ensure the further proper functioning of the premises located on the first floor:

- General renovation works, replacement of old doors and windows with new ones.

- Replacement of internal utility infrastructure (gas, water, sewage pipelines, electricity).

- Arrangement of an internal heating system, installation of wall boilers and aluminum heaters.

- Construction of wheelchair ramp.

- Improvement of entrance zone.

Implement all the mentioned construction works in compliance with the agreed design and acting construction norms in the prescribed manner.

Engineer                                 signature                          H. Khachatryan

Head of Secretariat                 sign/seal                           I. Asatryan

Attachment 4. Records of Virtual Consultation on the draft ESMP

MINUTES OF THE VIRTUAL CONSULTATION ON

POSSIBLE ENVIRONMENTAL, SOCIAL AND ADMINISTRATIVE PROBLEMS ASSOCIATED WITH THE RENOVATION WORKS OF BERD CSSTC

Date – 27.03.2020

Consultation duration – 20.03.2020 – 27.03.2020

In order to prevent the spread of the new coronavirus infection in Armenia and protect public health, the public awareness-raising activities on the establishment of Berd CSSTC in the RoA Tavush Marz were carried out online.

Environmental and Social Management Plan (ESMP) for the renovation works of Berd CSSTC has been posted on the official website of the RoA MLSA and the Facebook page of the Project (please find the provided info by the following links http://www.mlsa.am/?p=25369&fbclid=IwAR3OugAcLlB0egcUHs6Dv-eVZXr4n-NK-Hs1ConhOOfxTN5LFuPVLOAQ-KU; www.facebook.com/1064730507045063/photos/a.1065189526999161/1405539349630842/?type=3&theater ).

Also, an official letter was sent to the local Heads of Services to be integrated in the future CSSTC by the Project Coordinator, particularly detailing:

- Major changes in the process of introduction of the Integrated Social Services System in the RoA social protection system;

- Activities planned to address the possible environmental problems associated with the establishment of Berd CSSTC; and

- Works envisaged to overcome the potential social adverse impacts related to the establishment of Berd CSSTC.

Attachment 5.

Waste disposal permission

BERD COMMUNITY ADMINISTRATION OF

ROA TAVUSH MARZ

Levon Bek 5, Berd,

Tavush Marz, RoA

Tel.:(0267) 2-37-79, 2-10-83

berd.tavush@mta.gov.am

N335

January 23, 2020

REFERENCE

This letter is to confirm that the landfill servicing Berd Community is located 8 km away from the construction site in Berd town.

To be submitted upon request.

Head of Berd Community                signature                      Harutyun Manucharyan

Attachment 6.

Construction Permit

Land acquisitions includes displacement of people, change of livelihood encroachment on private property this is to land that is purchased/transferred and affects people who are living and/or squatters and/or operate a business (kiosks) on land that is being acquired.

Toxic / hazardous material includes but is not limited to asbestos, toxic paints, noxious solvents, removal of lead paint, etc.